Permit #:

Date:

Location:

Inspector:

Footing Inspection Checklist

- Township stamped plans are onsite.

- Building size and position as per the site plan.

- Soil is compacted, engineered fill placed (if required)

- Engineering report submitted (if required)

- Excavated down to undisturbed soil or bedrock.

- Pinning to bedrock complete.

- Footing forms are constructed as per the foundation plan.

- Stepped footings are constructed (max rise 24”, minimum run 24”)

- Piers and strip footings are sized and constructed as per plan.

- Frost protection, under-slab insulation installed and taped.

- Re-bar, wire mesh and all other reinforcement is installed.

- Under slab moisture barrier (poly) is installed (if required)

- Forms are free from water, debris, organic and/or frozen material.

- Dowels into existing concrete or vertical bedrock are installed.

- Deck footings are positioned and sized correctly and complete.

- Tarps, heaters etc. are onsite if pouring in cold weather.